## Preventative Maintenance
<insert company logo>
Preventative Maintenance Matrix
Use this matrix as a guide to plan regular maintenance activities for your organisation's building assets
Issue | Task | Frequency | Requirement
Air conditioning | Noise/vibration/clean filter | Annual | Recommended
Asbestos | Ensure warning signs are installed | Annual | Mandatory
| Ensure affected areas have not been disturbed | Quarterly | Mandatory
| Ensure appropriate labelling is in place | Annual | Mandatory
Building | Inspect for defects, clean gutters | 6-monthly | Recommended
Cleanliness | External building wash-down | Annual | Recommended
| Rubbish removal | As required | Mandatory
| Internal | As required | Recommended
Electrical | Lighting – workplace lux levels and check infrastructure | Annual | Recommended
| Test tags | 6-monthly | Mandatory
| Switchboards | Annual | Mandatory
| Emergency exits and lighting | 6-monthly | Mandatory
| Push-button safety switch test - 6 months following City operational test | As required | Mandatory
Fire Systems | Inspection and testing of smoke alarms - check manufacturer's recommendations | As required | Mandatory
| Inspection and testing of hydrants, hose reels and extinguishers | 6-monthly | Mandatory
Gas | Check appliances, labels, service tags | Annual | Recommended
Hydraulics | Backflow prevention | Annual | Mandatory
| Waste Liquid Removal | Quarterly | Mandatory
Mechanical Ventilation | Clean/check filters, hoods and exhaust fans | Monthly/Annual | Recommended
Pest | Termite inspection/treatment | Annual | Recommended
| Other domestic treatments | Monthly | Recommended
Plumbing | Inspection of plumbing system and waterflow | Annual | Recommended
| Check urinal | Quarterly | Recommended
Refrigeration | Service/check temperatures | Quarterly | Recommended
Security | Check security system | Annual | Recommended
| Doors/locks | Annual | Recommended

## Maintenance and Dev. Template
<insert company logo>
Maintenance and Development Plan
Organisation: | <insert name of your organisation> | Property: | <insert property name>
General maintenance | Proposed works as per condition audit | Estimated cost ($) | Application for improvement works required (yes/no) | Funding source (grant, club revenue, other)
Year one
Year two
Year three
Year four
Improvements/ Extensions | Proposed facility developments and improvements | Estimated cost ($) | Application for improvement works required (yes/no) | Funding source (grant, club revenue, other)
Year one
Year two
Year three
Year four

## Maintenance and Renewal Budget
<insert company logo>
Maintenance and Renewal Budget
Organisation: | <insert organisation name> |  | Property: | <insert property name> | Year
Condition Rating | Description | Type | Residual Life (Years) | EST Total ($) (automated) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
2 | Roof | Metal | 20 | 0
1 | Walls External | Brick / Painted | 50 | 0
1 | Walls Internal | Brick / Painted | 50 | 0
1 | Walls Internal | Gyprock | 20 | 0
1 | Upper Level Floor | Concrete | 50 | 0
1 | Upper Floor Cover | Carpet | 10 | 9500 | Year 10: 9500
2 | Upper Ceiling Lining | Suspended Gyprock | 20 | 0
2 | Right Side Grand Stand Roof | Metal | 20 | 0
1 | Left Side Grand Stand Roof | Metal | 20 | 0
2 | Windows | Aluminium | 20 | 0
1 | Light Fittings/Switches Circuit Board |  | 20 | 0
1 | Benches/Kitchen/Sinks | Stainless Steel | 20 | 0
1 | Floor Covering in Kitchen |  | 20 | 0
2 | Toilet/Showers |  | 10 | 55000 | Year 10: 55000
2 | Hot Water System | Electical | 5 | 12000 | Year 5: 4000; Year 10: 4000; Year 15: 4000
1 | Seats/Concrete | Cement | 40 | 0
| General Yearly Maintenance |  |  | 7500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
| TOTAL (automated) |  |  | 84000 | 500 | 500 | 500 | 500 | 4500 | 500 | 500 | 500 | 500 | 69000 | 500 | 500 | 500 | 500 | 4500

## Asset Register Template
<insert company logo>
Asset Register
Organisation: | <insert organisation name>
Property: | <insert property name>
Date:
Club Asset Reference Number | Asset Details | Asset Location | Manufacturer | Model Number | Serial Number | Expected Life | Average Life | Purchase Date | Purchase Price | Estimated Current Value / Depreciated Value | Insured Value | Estimated Replacement Cost | Annual Replacement Cost | Annual Maintenance Cost | Total Annual Maintenance and Replacement Cost | Estimated or Actual Disposal Date | Method of Disposal | Value of Disposal
0001 | Chest Freezer | Miami | Samsung | SD34589-1 | 10001000100 | 9-11 years | 10 years | 2019-12-01 | 2449 | 1960 | 2449 | 2450 | 245 | 30 | 275 | 2028-12-01 | Swap when new is delivered | 0
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
[9 empty] | $ | $ | $ |  | $ |  |  |  |  | $
Note on A11: HODZIC Lidija: Example only: delete this row